Proposal for Extending the MPPT Study with an Advanced Controller

The current project I was asked to work on focuses on the design and simulation of a PV energy conversion system using an Arduino-based controller implemented in Proteus. Four Maximum Power Point Tracking (MPPT) algorithms have already been developed and tested using Proteus and Arduino: Perturb and Observe (P&O), Incremental Conductance (INC), Fractional Open-Circuit Voltage (FOCV), and Fuzzy Logic Control (FLC). These controllers represent a broad spectrum of MPPT strategies, ranging from conventional methods to intelligent control approaches. Their simulations allow a comparative evaluation in terms of tracking speed, steady-state oscillations, implementation complexity, and overall MPPT efficiency under varying irradiance and temperature conditions.

While these algorithms are effective under uniform environmental conditions, practical PV systems often operate in more challenging scenarios. In particular, rapidly changing irradiance and partial shading conditions introduce non-linearities in the PV power–voltage characteristic, including the appearance of multiple local maxima. Under such conditions, previous studies show that classical MPPT techniques, such as P&O and INC, may converge to a local maximum rather than the global maximum power point. Even intelligent methods, such as FLC, may experience degraded performance if not specifically designed to handle these situations.

To further enhance the scope of this work, I propose extending the study by incorporating an additional MPPT controller, the Variable Step-Size Perturb and Observe (VSS-P&O) algorithm. This controller is chosen to complement the existing ones while addressing their key limitations.

Moreover, the VSS-P&O algorithm represents an improved version of the conventional P&O method already implemented in the project. By dynamically adjusting the perturbation step size based on the operating condition of the PV system, VSS-P&O achieves faster convergence during transient conditions and reduced oscillations around the maximum power point during steady-state operation. This enhancement directly improves tracking efficiency without significantly increasing computational complexity, making it well suited for Arduino-based implementation and Proteus simulation.

The addition of VSS-P&O algorithm is expected to produce several key outcomes. First, it enables a more comprehensive comparison between classical, adaptive, intelligent, and metaheuristic MPPT techniques within a unified simulation environment. Second, it highlights the trade-offs between computational complexity, tracking accuracy, convergence speed, and robustness.

Overall, this extension strengthens the project by demonstrating both incremental improvements to established algorithms and the application of advanced optimization techniques, thereby providing a well-rounded and forward-looking study of MPPT strategies for photovoltaic systems.